## Slide 1: New MIPAS V7 products
P. Raspollini, G. Aubertin, F. Barbara, M. Bernau, M. Birk, B. Carli, M. Carlotti, E. Castelli, S. Ceccherini, A. Dehn, M. De Laurentis, B. M. Dinelli, A. Dudhia, J.-M. Flaud, M. Kiefer, D. Moore, G. Perron, M. López-Puertas, J. Remedios, M. Ridolfi, L. Sgheri, G. Wagner
MIPAS Quality Working Group

## Slide 2: New MIPAS V7 products
MIPAS onboard ENVISAT satellite performed almost continuously measurements of the three dimensional atmospheric composition from 2002 to 2012.
The MIPAS ESA processor (current release ML2PP V6) was specifically designed for near real time operational analysis ( => automatic operations in different atmospheric conditions) and without biases in the retrieved profiles (=> minimal use of external constraints).
A new full mission reprocessing , which includes significant improvements in both L1 and L2 processor, is in progress (a Diagnostic dataset is now available, the full release, named ML2PP V7, will be available in May 2015). In particular, a drift in the instrumental gain was corrected and trends of observed species can be measured with improved accuracy.
With the new data we have started the determination of the latitude and altitude dependent trends of some Ozone-Depleting Substances (ODS) included in the Montreal Protocol.
Preliminary results confirm the positive trend of HCFC-22 and the negative trend of CCl4 and CFCs concentrations in troposphere.

## Slide 3: New MIPAS V7 products
Annual trends as a function of latitude and altitude
CCl4
CFC-11
CFC-12
HCFC-22

## Slide 4: New MIPAS V7 products
P. Raspollini, G. Aubertin, F. Barbara, M. Bernau, B. Carli, M. Carlotti, E. Castelli, S. Ceccherini, A. Dehn, M. De Laurentis, B. M. Dinelli, A. Dudhia8, J.-M. Flaud, M. Kiefer, D. Moore, G. Perron, M. López-Puertas, J. Remedios, M. Ridolfi, L. Sgheri
MIPAS Quality Working Group
MIPAS on ENVISAT
2002-2012
ESA processor V6 (current release)
ESA processor V7
(next release –May 2015)
Validation
Improvements in L1
Improvements in L2
Trends of ODSs
HCFC-22
CCl4
By clicking on the different rectangles of this slide it is possible to obtain more information on each particular subject.
CFC-11
CFC-12

## Slide 5: MIPAS on ENVISAT (2002-2012)
From April 2002 to April 2012 MIPAS (Michelson Interferometer for Passive Atmospheric Sounding) measured almost continuously the atmospheric emission in the middle infrared (685-2410 cm-1) at limb. Fischer et al., 2008
685 cm-1
14.6 µm
2410 cm-1
4.15 µm
Spectrum at 28 km tangent altitude

## Slide 6: MIPAS on ENVISAT (2002-2012)
X
Continuous, altitude resolved measurements, both during day and night, allow the determination of the diurnal variability of the compounds and of the temporal and latitudinal variation of their vertical distribution.
NO2 VMR at 37 km
Time-series of latitude dependence of Ozone at 21 km
Time-series of Ozone profile in the latitude band 65S-90S

## Slide 7: ESA processor V6 (current release) (1/3)
MAIN FEATURES OF THE RETRIEVAL APPROACH
The MIPAS ESA processor (current release ML2PP V6, see Raspollini et al., 2006) was specifically designed for near real time operational analysis (and hence capable of operating in an automatic way in different atmospheric conditions) and for having minimal biases in the retrieved profiles (making minimal use of external constraints). Further than the near real time analysis, whose requirement was the distribution of the products within three hours from the measurement time, the same processor was also used for the offline analysis, performed on consolidated Level 1 data.
Main features of the retrieval algorithm:
  Retrieval at the pressure grid identified by the tangent points of the limb scan sequence.
  Sequential retrieval of the target species: first simultaneous retrieval of the pressure corresponding to the measured tangent points and related temperature values , then retrieval of VMR of H2O, O3, HNO3, CH4, N2O, NO2, CFC-11, CFC-12, ClONO2, N2O5.
  Global fit analysis, i.e. simultaneous inversion of the measurements relating to a whole limb-scan sequence.
  Use of masks and microwindows , i.e. of selected spectral elements in selected spectral intervals containing relevant information on target parameters and less affected by systematic errors (non-LTE and horizontal inhomogeneities).
  Cloud filtering of spectra.
  Non-linear least squares fit using the Gauss-Newton method modified with the regularizing Levenberg-Marquardt technique.
  A posteriori regularization with a self-adapting strength
X

## Slide 8
  HANDLING OF ILL-CONDITIONING OF THE RETRIEVAL PROBLEM
  The regularizing Levenberg-Marquardt technique within the iterations and
a posteriori regularization with a self-adapting strengtht dependent on the random error of each profile are applied to constraint possible ill-conditioning of the retrieval problem.
The consequence of the use of a self-adapting regularization scheme in the retrieval algorithm is that random errors, (as well as systematic errors ), are dependent on the latitude and season. On the contrary, a small variation of the vertical resolution is obtained for different atmospheric conditions. An example for Ozone is shown.
X
ESA processor V6 (current release) (2/3)
Ozone absolute noise error profile (left plot) and vertical resolution profile (right plot) averaged on all profiles of the 65°S-90°S latitude band in the four seasons of year 2008 (December 2007, January and February 2008 (DJF), March, April and May 2008 (MAM), June, July and August 2008 (JJA), September, October and November 2008 (SON)).

## Slide 9
Selected spectral intervals (microwindows) are used for each species and the different species are retrieved in sequence.
October 2007 monthly averages of some of the species retrieved by ML2PP V6
Temperature
H2O
O3
HNO3
CH4
ClONO2
CFC-11
CFC-12
N2O
X
ESA processor V6 (current release) (3/3)

## Slide 10: ESA processor V7 (next release –May 2015)
ML2PP V7 will be a new offline analysis of the full mission.
So far only a diagnostic dataset (about 4000 orbits) is available. The full mission reprocessing will be available at the end of May 2015.
It contains significant improvements in both L1 processor, which provides geolocated and calibrated spectra, and L2 processor, which provides vertical VMR profiles of observed species.
Examples of validation of ML2PP V7 products with correlative measurements are provided.
X

## Slide 11: Improvements in V7 L1 processor: correction of time dependent calibration error (1/2)
In some studies of trends performed with MIPAS ML2PP V6 measurements (Ceccherini et al., 2011) the uncertainties caused by the drift of the instrument gain was identified as the largest source of error.
Indeed, MIPAS detectors of some spectral bands are affected by nonlinearities that change with time due to the aging of the instrument.
For L1 files used by V6 and previous versions the detector response as a function of the incident photon flux were characterized and parameterized before the ENVISAT launch and the parameters of this characterization were used to perform the nonlinearity correction.
In-flight measurements have now allowed nonlinearity correction in L1 V7 (used by ML2PP V7) (Birk and Wagner, 2013).
Ratio between mean L1 V7 and L1 V5 radiance for one band affected by non-linearities. The effect of the correction is a reduction of the radiance at the beginning of the mission and then a progressive increase of the ratio up to 1.01 at the end of the mission.
Difference in the monthly mean of temperature profile retrieved when using L1 V7 files and L1 V5 files in July in the years 2002, 2008, 1010, 2011
X

## Slide 12: Improvements in V7 L1 processor: correction of time dependent calibration error (2/2)
The analysis of the differences between V7 and V6 profiles provides an indication of the error in V6 products due to unaccounted non-linearities.
Temporal variation of V7 - V6 differences
of temperature.
Temporal variation of V7 - V6 differences of water vapor. Non-linearity correction impacts the species retrievals in two ways: a direct effect, due to changes in the radiance and an indirect effect, due to changes in temperature.
X
Improvements in L2

## Slide 13: Improvements in V7 L2 processor
MW-dependent continuum profiles (including all the emission sources that are frequency independent within a microwindow) are fitted together with the unknown profile.
While in V6, for each layer ith, the continuum cross-section ki was retrieved, in V7 the transmission
ξi=exp(-ki C) due to the continuum is retrieved. The sensitivity of the forward model to ki vanishes for large enough values of ki because of the exponential dependence, the new variables ξi are polynomially connected with the optical transparency of the layer due to the continuum, thus they are tightly linked to the measured spectra. The main effect of this improvement is that a better convergence towards the minimum of the χ2 is reached .
Main effects of the new continuum approach
The new approach generally leads to a significant reduction of the conditioning number of the matrix to be inverted. This, together with the reduced non-linearity of the forward model with respect to the new continuum variables, allows to decrease by a factor of 10 the initial value of the Levenberg-Marquardt parameter for the new retrieval variables. Results are that the final χ2 is reduced by about 3%, the number of iterations by about 15% and the number of degrees of freedom increased by 5% with respect to the previous approach.
V6
V7
V6
V7
X
New continuum retrieval approach

## Slide 14: Improvements in V7 L2 processor
Upgraded microwindows for the analysis of the Full Resolution measurements are now used. The spectral intervals used by ML2PP V6 for the analysis of the Full Resolution measurements were selected with strong constraints for the computing time. A new selection was performed recently, the new microwindows being characterized by an improved information content.
X
Improved microwindows for the first phase of the mission (2002-2004)
(Ceccherini et al., 2013)

## Slide 15: Improvements in V7 L2 processor:
HCFC-22
CCl4
COF2
CFC-14
X
Validation of V7 products
Retrieval of the following additional species:COF2, CCl4, CFC-14 , CFC-22 and HCN.

## Slide 16: Validation of V7 products
MIPAS vs ACE-FTS
HCFC-22
CFC-11
X
Differences smaller than 5% are obtained for HCFC-22 in the pressure range 400-20 hPa, for CFC-11 the difference is smaller than 5% only in the range 400-50 hPa, where the VMR is significantly different of 0.

## Slide 17
MIPAS V7 water vapor vs Frost Point Hygrometers (FPH)
at different stations
X
Validation of V7 products
Courtesy of
M. Kiefer - IMK
A comparison between ML2PP V7 and ML2PP V6 H2O data with respect to FPH shows several improvements:
Differences between FR and OR decreased
V7 OR data are clearly smoother than V6
Bias of V7 vs. FPH is reduced compared to V6

## Slide 18: Trends of Ozone-depleting substances (ODS)
Methodology:
Monthly means (green curve) have been calculated for each species at each altitude for latitude bins of 10°.
The annual variability has been removed substracting from the monthly means the average for each month of the year for all observed years. The trend (red line) was obtained by linearly fitting the resulting values (blue curve).
X
HCFC-22
CCl4
CFC-11
CFC-12

## Slide 19: HCFC-22
CFC-12
X
Zonal means
CFC-11
CCl4

## Slide 20: HCFC-22: trends vs latitude and altitude
40N-50N
40S-50S
CFC-12
X
CFC-11
CCl4

## Slide 21: HCFC-22: trends vs latitude and altitude
HCFC-22 trend (ppt/year) vs latitude at 3 pressure levels
CFC-12
X
CFC-11
CCl4

## Slide 22: HCFC-22: trends vs latitude and altitude
HCFC-22 trend (ppt/year) vs latitude and altitude
CFC-12
X
CFC-11
CCl4
HCFC-22

## Slide 23: CCl4
CFC-12
X
Zonal means
CFC-11
HCFC-22

## Slide 24: CCl4: trends vs latitude and altitude
CFC-12
X
CFC-11
HCFC-22
40N-50N
40S-50S

## Slide 25: CCl4: trends vs latitude and altitude
CCl4 trend (ppt/year) vs latitude at 3 pressure levels
CFC-12
X
CFC-11
HCFC-22

## Slide 26: CCl4: trends vs latitude and altitude
CCl4 trend (ppt/year) vs latitude and altitude
CFC-12
X
CFC-11
HCFC-22
CCl4

## Slide 27: CFC-11
CCl4
X
Zonal means
CFC-12
HCFC-22

## Slide 28: CFC-11: trends vs latitude and altitude
40N-50N
40S-50S
CCl4
X
CFC-12
HCFC-22
40N-50N
40S-50S

## Slide 29: CFC-11: trends vs latitude and altitude
CFC-11 trend (ppt/year) vs latitude at 3 pressure levels
CCl4
X
CFC-12
HCFC-22

## Slide 30: CFC-11: trends vs latitude and altitude
CFC-11 trend (ppt/year) vs latitude and altitude
CCl4
X
CFC-12
HCFC-22
CFC-11

## Slide 31: CFC-12
CCl4
X
Zonal means
CFC-11
HCFC-22

## Slide 32: CFC-12: trends vs latitude and altitude
HCFC-22
X
CFC-11
CCl4
40N-50N
40S-50S

## Slide 33: CFC-12: trends vs latitude and altitude
CFC-12 trend (ppt/year) vs latitude at 3 pressure levels
CCl4
X
CFC-11
HCFC-22

## Slide 34: CFC-12: trends vs latitude and altitude
CFC-12 trend (ppt/year) vs latitude and altitude
CCl4
X
CFC-11
HCFC-22
CFC-12

## Slide 35: New MIPAS V7 products
Percent annual trends as a function of latitude and altitude
CFC-11
CFC-12
HCFC-22
CCl4
X

## Slide 36: References
Birk, M. and Wagner, G., ‘Radiometric impact of new nonlinearity analysis’, Technical Note, 12.11.2013
Ceccherini, S., Carli, B. , Raspollini, P. and Ridolfi, M., Rigorous determination of stratospheric water vapor trends from MIPAS observations, Optics Express, Vol. 19, Iss. S3, A340-A360 (2011)
Ceccherini, S., Carli, B. and Raspollini, P., Quality of MIPAS operational products, Journal of Quantitative Spectroscopy and Radiative Transfer, Vol. 121, 45-55 (2013), doi: 10.1016/j.jqsrt.2013.01.021, 2013
Fischer, H., Birk, M., Blom, C., Carli, B., Carlotti, M., von Clarmann, T., Delbouille, L., Dudhia, A., Ehhalt, D., Endemann, M., Flaud, J. M., Gessner, R., Kleinert, A., Koopman, R., Langen, J., López-Puertas, M., Mosner, P., Nett, H., Oelhaf, H., Perron, G., Remedios, J., Ridolfi, M., Stiller, G., and Zander, R.: MIPAS: an instrument for atmospheric and climate research, Atmos. Chem. Phys., 8, 2151-2188, doi:10.5194/acp-8-2151-2008, 2008.
Raspollini, P., Carli, B., Carlotti, M., Ceccherini, S., Dehn, A., Dinelli, B. M., Dudhia, A., Flaud, J.-M., López-Puertas, M., Niro, F., Remedios, J. J., Ridolfi, M., Sembhi, H., Sgheri, L., and von Clarmann, T.: Ten years of MIPAS measurements with ESA Level 2 processor V6 – Part 1: Retrieval algorithm and diagnostics of the products, Atmos. Meas. Tech., 6, 2419-2439, doi:10.5194/amt-6-2419-2013, 2013.
Ridolfi M., and Sgheri, L., On the choice of retrieval variables in the inversion of remotely sensed atmospheric measurements, Optics Express, Vol. 21, Issue 9, pp. 11465-11474,(2013), http://dx.doi.org/10.1364/OE.21.011465
X