## Slide 1: Rapid and high precision DI14C analysis in small seawater samples and its future application as ocean tracer
Núria Casacuberta, Maxi Castrillejo, Anne-Marie Wefing, Silvia Bollhalder, Kayley Kündig, Hans-Arno Synal, and Lukas Wacker
In Climate: Past, Present, Future
CL5.3 Radiocarbon and the Carbon cycle – novel techniques and applications
D3343 | EGU2020-3581
Casacuberta et al.
Laboratory of Ion Beam Physics, ETH-Zurich, Switzerland
Contacts: M. Castrillejo (maxic@phys.ethz.ch)

## Slide 2: Motivation
D3343 | EGU2020-3581
Casacuberta et al. | 1
Key, R., and McNichol, A. 2020. Bottle data from cruise 33RO20130803, exchange version. Accessed from CCHDO https://cchdo.ucsd.edu/cruise/33RO20100308. Access date 2020-04-29.
APPLICATION
14C is a valuable ocean tracer: used to estimate water circulation timescales, uptake of atmospheric CO2, ocean carbon cycling, etc.
Ambitious spatial and temporal sampling resolution is aimed (GO-SHIP program):
  Global oceans covered by reference sections
  Decadal to sub-decadal repetitions of sections
TECHNICAL
High quality 14C data is needed: develop methods to reduce sample volume, reduce potential of cross-contamination, intercalibrate methods…
A13.5
Optimization of method
D14C (‰)
Depth (m)
A13.5

## Slide 3: New method for high precision DI14C in small seawater samples
D3343 | EGU2020-3581
Casacuberta et al. | 2
Figures adapted from Casacuberta, N., et al. Radiocarbon, 62, 1, 2020. DOI: https://doi.org/10.1017/RDC.2019.87
Fully automated extraction and graphitization steps are coupled in a single line (AGE system ETHZ).
Autosampler
Cu-Ag furnace
Automated Graphitization System (AGE)
Extraction of dissolved inorganic carbon from 7 samples in a row by flushing 60 mL of seawater with He gas to extract CO2.
Removal of traces of sulfur compounds, nitrogen oxides and halogens results in better and faster graphitization.
Trapping of CO2 in molecular sieve traps, thermal CO2 release from trap into reactor. Graphitization performed simultaneously in the 7 reactors. Iron powder is used as catalyst.
extraction
graphitization
Advantages: small volume (60 mL), fast (4 h), precise (2 ‰) and “cheap” (does not require much labor)
Comparison of graphitiza- tion performance without furnace (black), and with two different types of furnace (red and blue).

## Slide 4: Quality control of the optimized method
Background correction
D3343 | EGU2020-3581
Casacuberta etal. | 3
Figures based on Casacuberta, N., et al. Radiocarbon, 62, 1, 2020. DOI: https://doi.org/10.1017/RDC.2019.87
Reproducibility
Accuracy
A coral standard was used as a reference material with a nominal value of 0.9447 ± 0.0002. It was prepared similar to process blank and extracted and graphitized following the method used for seawater samples. The obtained mean value agreed within 1 sigma with the nominal value.
Two types of blanks: Pthalic Anhydride combusted in EA (combustion blank) and IAEA C1 in deionized water (process blank). After cleaning of deionized water (blue arrow), both blanks displayed similar values. Thus, combustion blank was used for background correction.
Initially, blank magnitude and variability
caused by deionized water
Seawater taken in the Arctic Ocean (n=12), Fram Strait (n=7) and North Atlantic (n=37) was used. Each seawater sample was separated into two subsamples. Reproducibility improved due to optimization of the method between subsets of data, from 2016 to 2018.
Process Blank
Comb. Blank

## Slide 5: Depth-profile of 14C
D3343 | EGU2020-3581
Casacuberta etal. | 4
GEOSECS_1972
SAVE_1989
2019
2019 data: unpublished, LIP, ETH Zurich.
METHOD OPTIMIZATION
Sample volume: 200 L, 60 mL
Precision: larger than 4 ‰, better than 2 ‰
Sample preparation: several hours-days per sample, 4 h for 7 samples in a row
Sample measurement: duplicate beta counting for > 15 h, AMS - 40 sample/day
OCEANOGRAPHIC FEATURES
Input of bomb-14C after 1960s, and air-sea exchange and vertical transport by 2019
Interior ventilation by northern waters, signal increasing due to bomb-14C transient
Advection of Southern/Antarctic origin waters, slight increase in 14C
1
2
3
2
3

## Slide 6: Zonal distribution of 14C
D3343 | EGU2020-3581
Casacuberta etal. | 5
Bower, A., et al. JGR Oceans, 124, 1, 2020.
DOI: https://doi.org/10.1029/2019JC015014
Depth (m)
Depth (m)
Depth (m)
D14C (‰)
D14C (‰)
D14C (‰)
Unpublished data, LIP, ETH Zurich.
Fram Strait 2018
Subpolar North Atlantic 2018
Southwestern Atlantic 2019
Irminger Sea
Greenland
Polar surface water
Waters of Atlantic Origin
Deep waters of Arctic Origin
Subtropical waters (NAC)
Labrador Sea Water
Nordic Overflow
Large portion of Antarctic waters
Subtropical Atlantic Central Water
Upper North Atlantic Deep Water
Lower North Atlantic Deep Water
1
2
2
2
3
4
5
5
5
6
7
7
8
8
9
9
10

## Slide 7: Summary
Use temporal evolution of 14C to estimate advection, diffusion, etc.
Combination with other transient tracers (e.g. 129I, 236U and 39Ar) for studying circulation processes on timescales of years to millennia
Reveal interior ventilation pathways and timescales of water in Atlantic Ocean (14C, 129I and 236U). ETH Zurich Career Seed Grant (SEED-06 19-2)
Provide new constraints on upwelling rates in the Atlantic Ocean (observations and modelling of 14C)
D3343 | EGU2020-3581
Casacuberta etal. | 6
New method to extract CO2 and measure 14C in DIC of seawater
  Contamination minimized, blanks pose no issue, method is accurate and precise
  Automated extraction and graphitization coupled in a single line
  Reduced sample volume from 250 mL to about 60 mL
  Precision improved from about 3 ‰ to better than 2 ‰
  Fast, allowing sample throughput of 21 samples per day
  First data are oceanographically consistent
Diff. 2019-1972 of D14C (‰)
Depth (m)
Outlook

## Slide 8: Acknowledgements
D3343 | EGU2020-3581
Casacuberta etal. | 7
Thanks to chief scientists, colleagues, captain and crew members involved in the sampling during the three expeditions in the Arctic Ocean, Fram Strait and North Atlantic Ocean
N. Casacuberta’ s research was supported by the Swiss National Science Foundation (AMBIZIONE PZ00P2_154805)
M. Castrillejo’ s research was supported by the ETH Zurich Postdoctoral Fellowship (17-2-FEL-30), co-funded by the Marie Curie Actions for People COFUND Program, and the ETH Career Seed Grant (SEED-06 19-2).
A.-M. Wefing received funding from the ETH-Zurich Doctoral grant ETH-06 16-1.
Additional funds were provided by the Laboratory of Ion Beam Physics and its consortium partners (EAWAG, EMPA and PSI).
Thank you for your virtual attention!