## Slide 1: Development of surface roughness length and drag parameterizations over deep seas - Alberto S. Rabaneda (arabaneda@icm.csic.es)
Uz : Wind speed at height z
u* : friction velocity
k : von Karman constant
Ψs : atmospheric stability correction
LS : Obukhov length
Cd : Drag coefficient
New correction parameter for the offshore logarithmic law due to wind/wave kinetic energy exchange
New surface roughness length parameterization free of empirical parameters, Lettau’s adaption to offshore locations
θ : angle between wind and wave directions
Lp : Wave length
Hs : Significant wave height
z0 : Aerodynamical surface roughness length
cp : Phase speed of waves
: Kinetic energy exchange between wind and waves
Figure. Correlation of wind/wave kinetic energy exchange against wave age and wave slope under neutral atmospheric stability conditions. Dataset from Egmond aan Zee meteorological mast in Netherlands (July 2005 - Dec 2008).

## Slide 2: Development of equation: Kinetic Energy Transfer Correction (KETC)
Kinetic energy transfer correction between ocean and atmosphere (KETC)
This wave age for fully developed seas agrees with literature where fully developed seas are meant to be found between 22 – 35
However, there was a lot of scatter as shown in the figure.
KETC |  | Sea type
< 0 | < 24.68 | Growing
≈ 0 | = 24.68 | Fully developed
> 0 | > 24.68 | Decaying
KETC |  | Sea type
< 0 | < 24.68 | Growing
≈ 0 | = 24.68 | Fully developed
> 0 | > 24.68 | Decaying

## Slide 3: Development of equation: Kinetic Energy Transfer Correction (KETC)
Wave slope effect over the kinetic energy exchange between wind and waves.
Since the energy of a wave depends on its amplitude and wavelength

## Slide 4: On high z0 values: Atmospheric stability and wake analysis
50-min z0 plotted against the inverse Obukhov length for EZ dataset.
50-min z0 roses in logarithmic scale for F1 and EZ under neutral stability conditions. The concentric lines represent frequency as percentage. The rose legend values represent z0 in m.
z0 threshold over 2 metres !!!