## Slide 1: Local Physical Chemistry Statements for Low cost sensor added value
Janice Scheffler,
Massimo Vieno, Michael Flynn, Stuart Lacy, Sebastian Diez, Francis D. Pope, Pete Edwards, and Christine F. Braban
EGU 2022 – AS3.1 – 24/05/2022

## Slide 2: Approach
Snider et al. (2016) use κ-Köhler theory with hygroscopicity parameter κ (Petters and Kreidenweis, 2007) to calculate diameter D growth factors GF for chemicals depending on relative humidity
Calculate water mass for organics and inorganic salts
BC and metal oxides assumed to be insoluble

## Slide 3: Approach
Snider et al. (2016) use κ-Köhler theory with hygroscopicity parameter κ (Petters and Kreidenweis, 2007) to calculate diameter D growth factors GF for chemicals depending on relative humidity
Calculate water mass for organics and inorganic salts
BC and metal oxides assumed to be insoluble

## Slide 4: Manchester supersite (20/02/2021 to 08/03/2021)
Photo: Michael Flynn
NH4, NO3, SO4
metal oxides
black carbon
Purple Air
Meteorological
observation
EMEP4UK
NaCl proxy: measurement from Auchencorth Moss supersite

## Slide 5: Traditional approach

## Slide 6
Growth factors
Local Physical Chemistry Statement (LPCS) approach
Weather
Calculate growth factors for hygroscopic PM2.5 components
Calculate water associated with hygroscopic chemicals depending on RH

## Slide 7: Local Physical Chemistry Statement (LPCS) approach
Compare time series and scatter plots of LCS with sum of dried PM2.5 components (CALC dry) and dried PM2.5 components plus water associated with PM2.5 (CALC total)
High transparency = lots of missing data

## Slide 8: Local Physical Chemistry Statement (LPCS) approach
Compare time series and scatter plots of LCS with sum of dried PM2.5 components (CALC dry) and dried PM2.5 components plus water associated with PM2.5 (CALC total)
High transparency = lots of missing data

## Slide 9: Local Physical Chemistry Statement (LPCS) approach
The chemical speciation hints at periods where overestimation is to be expected
The density distribution shows the overall performance of the sensor.

## Slide 10
Local Physical Chemistry Statement
User upload:
Location of measurements
Type of location
LCS data (csv)
Thank you!
gives power to non-expert user to interpret results of their LCS
chemically sense-checks why and when the algorithm is working
Data report contains:
  Time series of mass concentration for LCS and chemicals
  Density distribution
  Correlation of predicted vs measured PM2.5 mass concentration
  Information about local sources or conditions
contact: jansch@ceh.ac.uk
Background of Tool
modelled or forecast PM composition, RH, T
Information about unusual conditions for location or time period

## Slide 11: Additional slides

## Slide 12: Example period – Manchester – 20/02/2021 to 08/03/2021
Weather

## Slide 13: Ion balance

## Slide 15
EMEP4UK

## Slide 16
EMEP4UK

## Slide 17
EMEP4UK

## Slide 18
EMEP4UK