## Slide 1: Urban emissions of N2O and CH4 estimated using airborne AirCore observations Xin Tong1, Steven van Heuven1, Bert Scheeren1, Bert Kers1, Ronald Hutjes3, and Huilin Chen1,2
1 Centre for Isotope Research (CIO), Energy and Sustainability Research Institute Groningen (ESRIG), University of Groningen, Groningen, The Netherlands
2 Joint International Research Laboratory of Atmospheric and Earth System Sciences, School of Atmospheric Sciences, Nanjing University, Nanjing, China
3 Water Systems and Global Change, Department of Environmental Sciences, Wageningen University and Research
Contact: Xin.Tong@rug.nl

## Slide 2: Introduction
Limited continuous N2O measurements from local to regional scales
In-situ aircraft measurements
Limited and difficult for N2O
Restricted by heavy and power-consuming instrumentation
Short-term drift calibration often requires cal-gas tank on-board
Airborne AirCore
Continous and simultaneous measurements of N2O and CH4
Easy employable on lightweight aircrafts
Tall tower
station
Drone
Mobile van
Aircraft
More campaign
Spatial scale
Time scale
global
ha
regional
national
min
Hour
Day
week
Season
Year

## Slide 3: AirCore measurements of N2O, CH4, CO2, CO
AirCore design
Skyarrow on-board measurements
Two coupled Picarro measurements
Licor7810
AirCore
Pressure built up in the coil with a constant sampling rate
10 flights over Utrecht and Groningen regions
going through N2O analyzer and then CH4 analyzer with a constant flow rate
3D sonic anemometer
Notes: wfefwrvrwv

## Slide 4: Retrieved AirCore data
How to retrieve the AirCore data?
Determination of the start and end of sampling
Constant number of moles of sampled air
Retrieved data with time & coordinates:
Mole fractions
Meteorological parameters
Notes: Vbrbrgbrbrt b

## Slide 5: Flux calculation-mass balance approach
F =
Adjusted boundary layer height considering entrainment:
=
An example of June 1st
Subtract the emissions in southeast
Notes: Take an example of June 1

## Slide 6: EDGAR inventory emission estimates
N2O emissions
Not significantly different for two cities
CH4 emissions
Groningen > Utrecht
Larger spatial variabilities from Groningen city than from Utrecht city

## Slide 7: Comparison of estimates and inventories
N2O and CH4 urban emissions from Groningen city vary from day to day
N2O: 48~135 kg hr-1
CH4: 1400~7400 kg hr-1
N2O estimates are roughly lower than average EDGAR emissions
CH4 estimates averaged from three flights over Groningen city are in the same order of magnitude of average EDGAR emissions

## Slide 8: Conclusions and outlooks
We show that airborne AirCore observations are successfully used to quantify urban N2O and CH4 emissions; easy employable and precise.
We find that our estimates are roughly comparable with average EDGAR v6.0 inventory emissions for N2O and CH4.
The variation in the emission estimates indicates that a significant number of flight are required to reduce the uncertainties.

## Slide 9: Thank you for your attention

## Slide 10: AirCore retrieve
Determination of the start and end of Picarro profiles:
Smoothing in-situ airborne measurements of CH4 or CO2 by licor
The comparison of in-situ measurements of CH4 or CO2 and AirCore measurements
Max correlation coefficient, r, as the indicator