## Slide 1: Climate change or just new software?
Kristoffer Florvaag-Dybvik
Senior engineer
The impact of Extrap software on ADCP discharge measurements in Norway
Notes: Dette er kun en første-side med standard bilde. Bytt gjerne til et annet bilde på første sliden.
Logo er lagt til som bunntekstelement for å komme over bildet. For å vise: 1. I menyen, Vis > Topptekst og bunntekst
2. I vinduet, merk av i feltet for “Bunntekst”
3. Trykk på ”Bruk” (Ikke “Bruk alle”)
-------
For å endre utsnitt: 1. I Båndet, velg Bildeformat-fanen.2. Klikk Beskjær-knappen 3. Flytt bildet eller dra i bildets kanter for å endre utsnitt 4. Klikk utenfor bildet eller på Beskjær-knappen når du er ferdig.
-----

## Slide 2: ADCP

## Slide 3: Background
Bottom Q
Top Q
Edge Q
Edge Q
Need to extrapolate top & bottom
(& sides)

## Slide 4: Background
CNS
- Constant top
- No-slip bottom
PP
- Power-law top
- Power-law bottom
Power law:
U(z)=C*zn
Default n = 1/6 (~0.1667)

## Slide 5: Background
Extrap (Qrev/QrevInt)
Relative depth vs relative velocity
WinRiver/RSL
Depth vs velocity

## Slide 6: Did Extrap/Qrev change how we extrapolate?
CNS
- Constant top
- No-slip bottom
PP
- Power-law top
- Power-law bottom
Power law:
U(z)=C*zn
Default n = 1/6 (~0.1667)
Chart: Extraploation method vs time
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
%PP1667 | 95.3 | 91.5 | 85.7 | 80.2 | 79.1 | 77.2 | 58 | 16.4 | 15.7 | 7 | 8.9 | 7.7 | 4.9 | 12.5 | 9.8
%PPnnn | 0.5 | 0 | 3.4 | 5.4 | 7.8 | 3.8 | 3 | 2.9 | 3.1 | 18.8 | 11.1 | 24.6 | 28.4 | 30.8 | 21.7
%CNS | 3.1 | 6.9 | 4.8 | 6.9 | 6.3 | 6.7 | 24.3 | 60.8 | 58.7 | 70.3 | 71.1 | 67.7 | 65.4 | 53.8 | 67.4

## Slide 7: What about calculated discharge?
Discharge goes up!
No! It goes down!
Cool down. No change.

## Slide 8: What about calculated discharge?

## Slide 9: What about calculated discharge?

## Slide 10: So…
Do you want consistent or correct data?
What about flow duisturbance?
Are rivers really not obeying the power law?
(~ the logarithmic velocity profile)
Soon releasing internal reports
krdy@nve.no