## Slide 1: Probabilistic forecasting and scenario generation of pumped discharge in polder systems
Ties van der Heijden1,2
Nick van de Giesen1
Peter Palensky2
Edo Abraham1
1: Department of Water Resources Management, Delft University of Technology
2: Department of Electrical Sustainable Energy, Delft University of Technology

## Slide 2: The NZK-ARK

## Slide 3: Control of IJmuiden
Gates and a pumping station
  500 m3s-1, 260 m3s-1 @ 6 MW
Water system constraints
  Flood safety
  Shipping
Complex objectives
  Minimize flooding when inevitable
  Use renewable energy as much as possible
    ≈ Minimize energy cost

## Slide 4: Probabilistic forecasting
Classic control: predict then optimize
Point forecast…wrong 100% of times
  Suboptimal decision-making
Quantile regression: show me the value which is expected to be higher than the observation x% of the times
  Pump discharge
  Electricity prices
  Electricity grid load
  Solar irradiance
Probabilistic forecast -> scenario (tree) generation -> stochastic MPC
Source: van der Heijden, T., Palensky, P., & Abraham, E. (2021). Probabilistic DAM price forecasting using a combined Quantile Regression Deep Neural Network with less-crossing quantiles. In IECON 2021 – 47th Annual Conference of the IEEE Industrial Electronics Society: Proceedings

## Slide 5: Features and hyperparameters
‘Classic’ neural network hyperparameters
  N layers, nodes per layer, batch norm, l2 regularization, batch size
‘Water balance’ features
  Precipitation, evaporation, discharge
  Only observed historic data
Features as hyperparameters
  N lags, feature transformations, moving window size
Optimize with Tree of Parzen Estimators
  Use a hold-out validation set for optimization

## Slide 6: Non-parametric Bayesian Network
Directed Acyclic Graph
Sklar’s theorem
  Bivariate PDF = 2 marginal PDF’s + a copula
  Copula is parametrized by the rank correlation of the observed variables
User-defined dependency structure between variables
Samples that respect the forecast distribution AND observed correlation in data

## Slide 7: Results – CQR DNN

## Slide 8: Results – Scenarios
Observed correlations
Scenario correlations
Structure 1
Scenario correlations
Structure 2

## Slide 9: Results – Scenarios

## Slide 10: Conclusion
Operationally low cost
  Occasional feature- and hyperparameter optimization
  Rank-correlation calculated beforehand
Flexible BN architecture
  Marginal PDFs are easily changed
  Structure can be changed to fit observed dependencies

## Slide 11: Thanks!
Relevant material
van der Heijden, T., Lugt, D., van Nooijen, R., Palensky, P., Abraham, E. (2021). Multi-market Demand Response from pump-controlled open canal systems: an economic MPC approach to pump scheduling. Under review at IWA Journal of Hydroinformatics.
van der Heijden, T., Palensky, P., Abraham, E. (2021). Probabilistic DAM price forecasting using a combined Quantile Regression Deep Neural Network with less-crossing quantiles. In IECON 2021 – 47th Annual Conference of the IEEE Industrial Electronics Society: Proceedings
van der Heijden, T., Palensky, P., van de Giesen, N., Abraham, E. (2022). Day Ahead Market price scenario generation using a Combined Quantile Regression Deep Neural Network and a Non-parametric Bayesian Network. Accepted for Powercon 2022, Malaysia.
van der Heijden, T., Lago, J., Palensky, P., Abraham, E. (2021). Electricity Price Forecasting in European Day Ahead Markets: a Greedy Consideration of Market Integration. IEEE Access. Available: https://doi.org/10.1109/ACCESS.2021.3108629