## Slide 1
Quality check
of ground-based hourly measurements
of downwelling surface solar irradiance in China
Xuemei Chen, Benoît Tournadre, Yves-Marie Saint-Drenan, Benoît Gschwind, Kai Qin, Philippe Blanc
Observation, Impacts, Energy (O.I.E.), Mines Paris – PSL, France
School of Environment and Spatial Informatics, China University of Mining and Technology, China
24 May, 2022

## Slide 2
Motivation
Estimating downwelling surface solar irradiance from satellite sensors
 Validation by ground-based measurements
Reference: Heliosat-V
Benoît Tournadre, Benoît Gschwind, Yves-Marie Saint-Drenan, Xuemei Chen, Rodrigo Silva, and Philippe Blanc, "An alternative cloud index for estimating downwelling surface solar irradiance from various satellite imagers in the framework of a Heliosat-V method," Atmospheric Measurement Techniques, 2022.

## Slide 3
CMA network of irradiance measurements
Background: ERA5 mean GHI (2017-2018)
101 stations
  - Only global: 83 stations
  - Direct and diffuse: 18 stations

## Slide 4
Visual quality-check procedure: global
Good quality

## Slide 5
Visual quality-check procedure: global
Good quality
Station #54764 (Fushan)

## Slide 6
Visual quality-check procedure: global
Partly good

## Slide 7
Visual quality-check procedure: global
Station #50834 (Suolun)
Partly good

## Slide 8
Visual quality-check procedure: global
Bad quality

## Slide 9
Visual quality-check procedure: global
Bad quality
Station #54662 (Dalian)

## Slide 10
Summary of validation: global
71 stations usable over 101 for global:
- 52 full time series
- 19 part time series
(- 30 stations not usable)

## Slide 11
Summary of validation: 3 components
6 stations usable over 18 for 3 components:
- 4 full time series
- 2 part time series
Applied to 18 stations:
 with diffuse, direct and global measurements

## Slide 12
Conclusions
CMA hourly data of variable quality
For years 2017-2018:
      71 stations over 101 usable for global irradiance
      6 stations over 18 usable for three components

## Slide 13
xuemei.chen@mines-paristech.fr
philippe.blanc@minesparis.psl.eu
Thank you
Quality check of ground-based hourly measurements of
downwelling surface solar irradiance in China
Xuemei Chen, Benoît Tournadre, Yves-Marie Saint-Drenan, Benoît Gschwind, Kai Qin, Philippe Blanc

## Slide 14
Visual quality-check procedure: 3 components
Direct + diffuse (W m-2)
Global (W m-2)
Station #58362 (Shanghai)
Good quality

## Slide 15
Visual quality-check procedure: 3 components
Direct + diffuse (W m-2)
Global (W m-2)
Station #56778 (Kunming)

## Slide 16
Visual quality-check procedure: 3 components
Station #56778 (Kunming)
(Direct+diffuse)/GHI
Partly good
Solar zenith angle (degrees)

## Slide 17
Visual quality-check procedure: 3 components
Direct + diffuse (W m-2)
Global(W m-2)
Station #54342 (Shenyang)
Bad quality