## Slide 1
In-situ gravity measurements using a vibrating beam MEMS accelerometer designed for surface microgravimetry.
Matthew Reed, Guillermo Sobreviela-Falces, Milind Pandit, James Mcintosh, Douglas Young, Callisto Pili, Julian Abbott, Guy Brook, Niall MacCarthy, Daniel Boddice, Farough Rahimzadah, Nicole Metje, Jamie Vovrosh, Colin Baker, and Ashwin Seshia

## Slide 2: Resonant Beam Accelerometer
Proof Mass
Gravity
Tension
Compression
This value includes:
gravity measurement,
Seismic effects
Audio effects
thermal and pressure effects,
electrical noise
common-mode noise
This value includes:
gravity measurement,
Seismic effect
Audio effects

## Slide 3: Field ready gravimeter prototype
Sensor Module
Insulation
System
Controller
(Sysc)
Heating Elements
Digital Resonance Tracking Unit
(DRTU)
Out 1
Out 2
In 1
In 2
Tilt Sensor (500 µdeg precision)
Pressure
Temperature
Heat Control
Collection Device
Data
Out
Data
Out
DRTU
data
Tilt
data
(in/out)
Sysc
data
Tilt
Data-In
Tilt Control
Controlled Piezo motor micrometre

## Slide 4: Elevation testing
6
0 mm
600 mm
<1 mm precision
Experimental procedure:
Time
Height/Changing Gravity
Base Station
Measurement Station
After every measurement system returns to base station
-

## Slide 5: Elevation testing
Gravity measurements at varying height to simulate effect of moving system and varying gravity
Measurement time at each height 20 mins and 5 repeats used
Detection levels below <15 µGal
Average gravity repeatability of 6.5 µGal
Time varying residual compared to fit is due to earth tides (not compensated)

## Slide 6: NBIF Field trial
2 m
0.3 m
Base Station (0)
And Station 1
Measurement Station
2
3
4
5
6
7
1 m
1 m
1 m
1 m
1 m
1 m
Not performed due to time constraints
Chart: Measurement Number
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59
Station Number | 0 | 0 | 1 | 0 | 0 | 4 | 0 | 7 | 0 | 1 | 0 | 4 | 0 | 7 | 0 | 3 | 0 | 0 | 5 | 0 | 3 | 0 | 5 | 0 | 1 | 0 | 4 | 0 | 7 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 0 | 4 | 0 | 7 | 0 | 1 | 0 | 4 | 0 | 7 | 0 | 3 | 0 | 5 | 0 | 0 | 3 | 0 | 5 | 0 | 4 | 0 | 3 | 0

## Slide 7
1
3
4
5
7
NBIF Field trial
Results (Compared with Scintrex CG6 – Provided by D. Boddice)
Model – Provided by D. Boddice

## Slide 8
Future Directions and proposed product range
OEM Gravimeter | Static Gravimeter | Drone Deployed | Rover Deployed | Stacked Gradiometry
Single OEM Gravity Sensor | Static independent system on a Tripod | Drone deployment for wide area surveys | Ruggedized tracked vehicle for automated surveys | Stacked pair for gradiometric studies
Property | OEM Gravimeter
Resolution | <5 µGal
Power | ~5 W @25°C
Size | L<20cm, W<20cm, D<20cm
Weight | <5 kg

## Slide 9
Acknowledgements

## Slide 10
Thank You for your Attention!