## Slide 1: Detection of chlorine, bromine and bromine chloride (BrCl) in volcanic emissions: Studies at Mt. Etna (Italy), 2022
EGU General Assembly 2023
27th April 2023
Bastien Geil1, Niklas Karbach1, Nicole Bobrowski2,3, and Thorsten Hoffmann1
1Department of Chemistry, Johannes Gutenberg-University Mainz, Germany
2Institute of Environmental Physics, Ruprecht-Karls-University Heidelberg, Germany
3Istituto Nazionale di Geofisica e Vulcanologica – Osservatorio Etneo Catania, Italy
1
Navigation
backward forward
return to start

## Slide 2
Adapted from Gutmann et al, 2018
Adapted from Roberts et al, 2014
satellite
chemical simulations
direct sampling
DOAS / camera
Motivation
Understanding of physical and chemical processes in volcanic plumes
Link between atmospheric, petrologic and magmatic data
Forecasting volcanic activity
This work:
drone based measurements

## Slide 3
Simultaneous measurements on one drone
Cl2, Br2, BrCl
Setup & preliminary results
Setup
Setup
Cl, Br, I in oxidation state 0 and +1
Total halogen species, SO2 and CO2

## Slide 4
Cl2, Br2, BrCl
Sampling time: 5-10 min
Flow: 450 ml/min
Absorption rate: 97 % (Cl2)
Recoveryrate: 87 % Cl2
92 % BrCl
97 % Br2
Chart: seconds
| 10 | 15.65217391304348 | 15.65217391304348 | 28.173913043478262 | 28.173913043478262 | 33.599999999999994 | 24.599999999999998 | 56.4 | 38.571428571428577 | 38.571428571428577 | 270.85714285714289 | 270.85714285714289 | 102.85714285714286 | 1908 | 27.000000000000004 | 232.50000000000003 | 232.50000000000003
Chlorine | 0.22388 | 0.2279 | 0.21485 | 0.20378 | 0.79331 | 0.34057 | 0.32496 | 0.35728 | 0.57687 | 0.58061 | 0.2258 | 0.15146 | 0.22388
Bromine chloride | 0.77612 | 0.68441 | 0.68153 | 0.73161 | 0.20669 | 0.60467 | 0.67504 | 0.64272 | 0.42313 | 0.41939 | 0.68527 | 0.84854 | 0.77612
Bromine | 0 | 0.087687 | 0.10362 | 0.064613 | 0 | 0.054756 | 0.088933
Fig 1: normalized proportion of Halogens plotted against plume age. Measurements were made at different days during Etna campaign in July 2022.

## Slide 5
Cl, Br, I in oxidation state 0 and +1
X = Cl, Br, I
Syringe Filter with TMB-Coating
Quantification via gas chromatography high resolution mass spectrometry
Not analysed at this time

## Slide 6: Total halogen species, SO2 and CO2
Not analysed at this time

## Slide 7
Conclusion and Outlook
With our new method, we are not only able to distinguish the reactive halogen species, but we have also succeeded in developing a very lightweight setup for in situ measurements using drones (UAVs) directly in the volcanic plume. The combination of bubblers and filters allows the simultaneous measurement of the individual halogen species as well as the total halogen concentration.
Next steps:
Quantification of all the halogen species
Detection and quantification of new species with improved coatings for syringe filters
Improvement of chemical simulations for evolution of halogen species in volcanic plumes