## Slide 1: Towards carbon dioxide imaging using Fabry-Pérot interferometer correlation spectroscopy
Moritz Sindram1, Jonas Kuhn2, Ralph Kleinschek1, Christopher Fuchs3, Marvin Knapp1, Benedikt Löw1, Alexander Nies4, Tobias Schmitt1, and André Butz1
1 Institute of Environmental Physics, Heidelberg University, Heidelberg, Germany (msindram@iup.uni-heidelberg.de) 2 Department of Atmospheric and Oceanic Sciences, University of California, Los Angeles, CA, USA 3 Institute for Atmospheric and Climate Science, ETH Zurich, Zurich, Switzerland 4 Laboratoire de Physique et de Chimie de l`Environnement et de l`Espace, CNRS/University Orleans, Orleans, France

## Slide 2: Ground-based carbon dioxide (CO2) imaging
msindram@iup.uni-heidelberg.de
SO2 column density at Sabancaya (Peru)
Close observational gap between in situ and satellite measurements
Imaging Fabry-Pérot interferometer (FPI) correlation spectroscopy was successfully applied to other trace gases (Fuchs et al., 2021; Nies et al., 2023).
Source attribution
Emission quantification
Emission quantification
Chemically passive tracer
Knapp et al. (2023) [preprint]
CO2 measurement at a power plant with a hyperspectral camera.
plume
stack
SO2
plume
crater
 Potential improvement of instrument size and temporal resolution for CO2 measurements.

## Slide 3: Fabry-Pérot interferometer (FPI)
msindram@iup.uni-heidelberg.de
Gas-filled
20 mm clear aperture
Matched to CO2 absorption
Resolving power 18,000
Separation spacers
Clear coated aperture
Fittings for gas exchange
Simulated transmission
 Periodic transmission maxima
mirrors
FPI setup

## Slide 4: Periodic CO2 absorption at 1570nm
msindram@iup.uni-heidelberg.de
Atmospheric CO2 transmission

## Slide 5: Measurement principle
msindram@iup.uni-heidelberg.de

## Slide 6: Measurement principle
msindram@iup.uni-heidelberg.de
Match FPI transmission spectrum to CO2 absorption at

## Slide 7: CO2 camera setup
msindram@iup.uni-heidelberg.de
Tuning Fabry-Pérot interferometer (FPI) in imaging setup  no spatial scanning required

## Slide 8: Performance simulation
msindram@iup.uni-heidelberg.de
Knapp et al. (2023) [preprint]
Image of CO2 emitted by power plant
 Recorded with grating spectrometer  Integration time: 1h
 Significantly faster than current instruments
25 s
10 min
plume
stack

## Slide 9: Prototype cuvette measurement
msindram@iup.uni-heidelberg.de
FPI camera
filled cuvette
Light source

## Slide 10: Prototype cuvette measurement
msindram@iup.uni-heidelberg.de

## Slide 11: Towards Carbon Dioxide imaging using Fabry-Pérot interferometer correlation spectroscopy
Combination of high spectral resolution and imaging for CO2 measurements
Simulations suggest significantly shorter integration times compared to existing instruments
Prototype proves CO2 sensitivity
msindram@iup.uni-heidelberg.de
Conclusion
Fuchs et al. (2021) https://doi.org/10.5194/amt-14-295-2021
Knapp et al. (2023) [preprint] https://doi.org/10.5194/egusphere-2023-1857
Nies et al. (2023) https://doi.org/10.3389/feart.2023.1063922
References
Contact
Moritz Sindram
msindram@iup.uni-heidelberg.de
Outlook
Automate prototype
Proof-of-concept studies in the field