## Slide 2
Assessing Climate Change Impact and Water Resources Adaptation Measures of the Taoyuan Tableland in Taiwan
Ting Yu Lin, Ming Hsu Li, and Chuan Bin Jian
Graduate Institute of Hydrological and Oceanic Sciences
National Central University, Taiwan

## Slide 3
Highlights
Developing a water-resource system-dynamic model of the Taoyuan Tableland.
01
02
Assessing the mid-century water deficit of the Taoyuan Tableland under the high-emission scenario (SSP5-8.5).
03
Proposed adaptation measures
Public Water：Centralized dredging of the Reservoir
 Agricultural Water: Distributed dredging of Ponds with supports from local reivers

## Slide 4
Outline
Introduction
1
Methodology
2
Results and Discussion
3
Conclusions
4

## Slide 5
01
Introduction

## Slide 6
Study Area
1/3
Introduction
Shihmen reservoir
 69% Water Supply
River
 18 % Water Supply
Groundwater
 13 % Water Supply

## Slide 7
1995-2004
2005-2014
2015-2024
Meteorological drought
1995
2002
2003
2004
Human Active (Fallowing)
2002
2003
2004
Meteorological drought
2006
2010
2014
Human Active (Fallowing)
2006
2010
Meteorological drought
2017
2020
2021
Human Active (Fallowing)
2015
2020
2021
Historical Drought Events of the Taoyuan Tableland
2/3
Introduction

## Slide 8
Runoff Trends of the Baseline and under the SSP5-8.5 Scenario
3/3
Shihmen Reservoir watershed Runoff Trends:
Baseline (1995-2014) and Mid-Future (2041-2060)
Sanhsia River watershed Runoff Trends:
Baseline (1995-2014) and Mid-Future (2041-2060)
Introduction

## Slide 9
02
Methodology

## Slide 10
Research workflow
1/7
Methodology

## Slide 11
1. 17-Secondary Canal Intake Gate
2. River
2. Secondary Irrigation Channel
Xiao-Fanli River
3. Field Channel
Field Investigation
2/7
Methodology

## Slide 12
Shihmen Reservoir Operation Rule Curves
System Balance Equation
Reservoir operation assessment framework
Research Methodology and Data Collection
Shihmen Reservoir :
System Constraint Conditions
Channel:
Water Treatment Plant (WTP) :
Normal Water Demand
Agri  Normal Water Demand * 0.5
Public Normal Water Demand *0.8
Agri Normal Water Demand * 0.75
Public Normal Water Demand *0.9
Agriculture Ponds :
Storage Capacity
Inflow
(Channel)
Agricultural water use
Overflow
Inflow
(River)
Storage Capacity
Inflow
Outflow
Overflow
Model Parameter Settings
3/7
Methodology

## Slide 13
Research Methodology and Data Collection
Building Water Resource System Dynamic Model (WRSDM)
4/7
Methodology

## Slide 14
Research Methodology and Data Collection
Schematic Diagram of the Taoyuan Tableland Water Supply System
5/7
Methodology

## Slide 15
: value approaching 1 indicates
that the model's trend closely
aligns with observed values.
: represents the regression sum
of squares.
: represents the total sum of
squares.
Methodology
Definition of Assessing Indicators
6/7
Validation Indicators
RMSE : values are always non-negative , with
lower values indicating a smaller
discrepancy between model outputs
and observed data.
: The number of simulation days.
: the modeled output for day .
: the observed value for day .
Unit : 10 kt/day.
: value closer to 1 signifies
higher model accuracy.
: the modeled output for day .
: the observed value for day .
: the mean of the observed values.
A Higher value is preferable.
A lower value is preferable.
A Higher value is preferable.

## Slide 16
: The number of consecutive days when the system's water supply cannot meet demand.
: The daily water demand.
: The daily water supply.
Unit : %-day.
Definition of Assessing Indicators
7/7
Deficit Indicator
: represents the irrigation duration for the first and second crop seasons.
: The daily water demand.
: The daily water supply.
Unit : Dimensionless.
Methodology
Public water
Agriculture water
A lower value is preferable.
A lower value is preferable.
Deficit Percent Day
Total Agricultural Water Deficit

## Slide 17
03
Results and Discussion

## Slide 18
Research workflow
Results and Discussion

## Slide 19
WRSDM’s Shihmen Reservoir Validation
1/4
Results and Discussion

## Slide 20
Research workflow
Results and Discussion

## Slide 21
Runoff
Simulation
2/4
Results

## Slide 22
Research workflow
Results and Discussion

## Slide 23
Adaptation Measures for Water Resources Management (Public Water)
3/4
Results and Discussion
Baseline & Mid-Century
Mid-Century & Adaptation Measures
Index | Mid-Century | Public Water | 
 |  | Dredging Shihmen Reservoir 50 million | Ponds support public water supply
Availability | 84.80 (%) | 96.69 (%) | 84.80 (%)
 | 1560 (%-day) | 980 (%-day) | 959 (%-day)
Index | Mid-Century | Public Water | 
 |  |  | Ponds support public water supply
Availability | 84.80 (%) | 96.69 (%) | 84.80 (%)
 | 1560 (%-day) | 980 (%-day) | 959 (%-day)
Index | Baseline | Mid-Century
Availability | 92.37 (%) | 84.80 (%)
 | 1290 (%-day) | 1560 (%-day)
Index | Baseline | Mid-Century
Availability | 92.37 (%) | 84.80 (%)
 | 1290 (%-day) | 1560 (%-day)
MTTF : Mean Time To Failure
MTTR : Mean Time To Repair
Availability : A higher value is preferable
DPD: A lower value is preferable

## Slide 24
Adaptation Measures for Water Resources Management (Agriculture Water)
4/4
Results and Discussion
Index | Mid-Century | Agriculture Water | 
 |  | Dredging Shihmen Reservoir 50 million | Increase water diversion from rivers and deepening agricultural ponds
Availability | 12.52 (%) | 12.77 (%) | 13.34 (%)
 | 28.5 (%) | 14 (%) | 10 (%)
Index | Mid-Century | Agriculture Water | 
 |  |  | Increase water diversion from rivers and deepening agricultural ponds
Availability | 12.52 (%) | 12.77 (%) | 13.34 (%)
 | 28.5 (%) | 14 (%) | 10 (%)
Index | Baseline | Mid-Century
Availability | 20.08 (%) | 12.52 (%)
 | 20.5 (%) | 28.5 (%)
Index | Baseline | Mid-Century
Availability | 20.08 (%) | 12.52 (%)
 | 20.5 (%) | 28.5 (%)
Baseline & Mid-Century
Mid-Century & Adaptation Measures
MTTF : Mean Time To Failure
MTTR : Mean Time To Repair
Availability : A higher value is preferable
: A lower value is preferable
≈ 34 million

## Slide 25
04
Conclusions and Future Work

## Slide 26
Conclusions
Drought events will become more frequent in the Mid-Century compared to the baseline.
Public water
Availability index  Increase 7.57 % water deficit
index Increase 270 %-day water deficit
Agriculture water
Availability index  Increase 7.56 % water deficit
index Increase 8 % water deficit
Baseline and Mid-Century
1/2

## Slide 27
Conclusions
Adaptation Measures for Water Resources Management (Mid-Century)
Ponds support public water supply (Public water) :
Availability index  Unchanging
index Decrease 601 %-day water deficit
Increase water diversion from rivers and deepening agricultural ponds (Agriculture water) :
Availability index  Decrease 0.82 % water deficit
index  Decrease 18.5 % water deficit
Deepening Shihmen Reservoir 50 million :
Public water
Availability index  Decrease 11.89 % water deficit
index Decrease 580 %-day water deficit
Agriculture water
Availability index  Decrease 0.25 % water deficit
index  Decrease 14.5 % water deficit
2/2

## Slide 28
References
Lee, M.-H. (2024). Sustainable Development of Key Areas in the Taoyuan Plateau and Coastal Zone: Cross-domain Research on Sustainable Development of the Taoyuan Plateau and Coastal Zone: Main Project (1/3) (Project No. NSTC 112-2621-M-008-003-). National Science and Technology Council Specialized Research Project Report.
Liu, T.M., C. P. Tung*, K. Y. Ke, L. H. Chuang and C. Y. Lin. 2009. Application and development of a decision-support system for assessing water shortage and allocation with climate change. Paddy and Water Environment, Vol.7, No. 4, pp301-311
Wilhite, D. A., & Glantz, M. H. (1985). Understanding: the drought phenomenon: the role of definitions. Water international, 10(3), 111-120.
Shahbazbegian, M., & Bagheri, A. (2010). Rethinking assessment of drought impacts: a systemic approach towards sustainability. Sustainability Science, 5, 223-236.
IPCC, 2023: Summary for Policymakers. In: Climate Change 2023: Synthesis Report. Contribution of Working Groups I, II and III to the Sixth Assessment Report of the Intergovernmental Panel on Climate Change [Core Writing Team, H. Lee and J. Romero (eds.)]. IPCC, Geneva, Switzerland, pp. 1-34
Lu, Y., Tian, F., Guo, L., Borzì, I., Patil, R., Wei, J., ... & Sivapalan, M. (2021). Socio-hydrologic modeling of the dynamics of cooperation in the transboundary Lancang–Mekong River. Hydrology and Earth System Sciences, 25(4), 1883-1903.
Ming-Hsu, L., Tseng, K. J., Tung, C. P., Dong-Sin, S., & Liu, T. M. (2017). Assessing water resources vulnerability and resilience of southern Taiwan to climate change. TAO: Terrestrial, Atmospheric and Oceanic Sciences, 28(1), 6.
Notes: These are my references.

## Slide 29
Thank you for your attention
Notes: That concludes my presentation.