## Slide 1: Expansion of the UFP measuring capabilities of the Dutch National Air Quality Monitoring Network - Appendix
Anneke Batenburg, Joost Wesseling, Dirk Wever, Sjoerd van Ratingen, Ernie Weijers, and Guus Stefess
← RIVM, Bilthoven, the Netherlands
anneke.batenburg@rivm.nl
EGU 2026, Vienna, 5 May 2026

## Slide 2: LML measurement cabins

## Slide 3: Ongoing indicative UFP measurements in Utrecht province
Before acquiring the new CEN-compliant UFP counting equipment, RIVM has been measuring at three locations around Utrecht with older equipment. What follows are some of the preliminary results of those measurements. I’m not showing them in the main presentation due to time constraints.

## Slide 4: Equipment (current)
1: Inlet
2: Ultrafine particles grow in water vapour
3: Optical detection
TSI EPC 3783
Older generation device
Water-based
D50 = 7 nm
Not compliant with FprEN16976:2024
RIVM has 3

## Slide 5: Measurement locations (current)

## Slide 6: Preliminary results

## Slide 7: Preliminary results

## Slide 8: Expansion of the UFP measuring capabilities of the Dutch National Air Quality Monitoring Network
Anneke Batenburg, Joost Wesseling, Dirk Wever, Sjoerd van Ratingen, Ernie Weijers, and Guus Stefess
← RIVM, Bilthoven, the Netherlands
anneke.batenburg@rivm.nl
EGU 2026, Vienna, 5 May 2026

## Slide 9
> 50 locations by RIVM (“Landelijk Meetnet Luchtkwaliteit” = LML)
+ ≈ 50 locations by regional partners
Distributed over different types of environment (rural, urban, ...).
Components measured vary by location, focus on health.
https://www.luchtmeetnet.nl/
The existing network

## Slide 10
Sep 2021: National Health Council advisory report
End of 2021: Minister Of Infrastructure and Water Management asks RIVM for strategy
Dec 2022: RIVM publishes report with proposed monitoring strategy
Jan 2020: Minister for the Environment and Housing requests advice on UFP from National Health Council
2023-2024: tendering process for new UFP equipment
2025: Arrival of new equipment
Timeline
Recommendation: measure UFP structurally within the LML

## Slide 11
National Health Council, advisory report ” Risks of ultrafine particles in the outside air”, No. 2021/38
Size and health effects of UFP

## Slide 12
Sep 2021: National Health Council advisory report
End of 2021: Minister Of Infrastructure and Water Management asks RIVM for strategy
Dec 2022: RIVM publishes report with proposed monitoring strategy
Jan 2020: Minister for the Environment and Housing requests advice on UFP from National Health Council
2023-2024: tendering process for new UFP equipment
2025: Arrival of new equipment
Timeline
Proposal for the modelling and measurement of ultrafine particles in the Netherlands

## Slide 13
First stage
Calibration of concentration map
Start with stationary rural background locations for geographical coverage (green circles)
Later stages
Urban background
Local contribution from “coupled” street stations
Multi-year trends
Mobile measurements near sources
Highly indicative
Exploratory, to adjust as we go.
Monitoring strategy

## Slide 14
Sep 2021: National Health Council advisory report
End of 2021: Minister Of Infrastructure and Water Management asks RIVM for strategy
Dec 2022: RIVM publishes report with proposed monitoring strategy
Jan 2020: Minister for the Environment and Housing requests advice on UFP from National Health Council
2023-2024: tendering process for new UFP equipment
2025: Arrival of new equipment
Timeline

## Slide 15
1: Inlet
2: Working fluid vapour condenses on the ultrafine particles
3: Optical detection
Condensation Particle Counter (CPC)

## Slide 16
TSI 3750-CEN10
Butanol as working fluid
CEN/TS 16976:2024 compliant
TSI 3789
Water as working fluid
× 5
× 3
× 5
× 8
New CPCs

## Slide 17: Field comparison of butanol-CPCs

## Slide 18
Water-CPCs still have some issues
5 working butanol-CPCs
  1 as lab standard
  4 deployable
Geographical coverage needed for concentration map/models
Location shortlist

## Slide 19
TSI 3938W50-PP-CEN10 Scanning Mobility Particle Sizer (SMPS)
Mobility Particle Size Spectrometer (MPSS)
For measuring the size distribution of ultrafine particles at “supersites” according to the new EU Air Quality Directive (2024/2881)
CEN/TS 17434:2020 compliant
× 2
On the way:
sizing systems
× 2

## Slide 20: Questions / references / resources
Air quality data from the last hour: http://www.luchtmeetnet.nl/
Validated data: data.rivm.nl/data/luchtmeetnet/
Health council advisory report: www.healthcouncil.nl/documents/2021/09/15/risks-of-ultrafine-particles-in-the-outside-air
Proposed RIVM measurement strategy: www.rivm.nl/publicaties/voorstel-voor-meten-en-modelleren-van-ultrafijnstof-in-nederland
Empirical national UFP map using existing indicative measurements: www.rivm.nl/publicaties/empirical-modelling-of-ufp
Modelling particle dynamics using indicative UFP measurements as starting conditions: www.rivm.nl/publicaties/modelling-ultrafine-particle-dynamics-using-salsa