## Slide 1: Towards a more accurate wind and solar power prediction by improving NWP model physics
Carmen Köhler and Andrea Steiner

## Slide 2: Outline
EWeLiNE Project
Modeling Errors
Clouds and Other Uncertainties
Diurnal Cycle of Wind
Conclusion

## Slide 3: EWeLiNE
DWD
IWES
TSOs
Weather-
forecast
Power-
forecast
Feedback
Notes: Goal is to improve weather and power forecasts and develope new forecast products especially to ensure a stable transmission network system.

## Slide 4
Photovoltaik:
 Shallow convection after cold frontal passage
 Spatial and temporal resolution of convection
 Low stratus
 Snow cover on solar panels
www.solarify.eu/
PV Modeling Errors

## Slide 5
conventional only
conventional + cloud assimilation
Total cloud cover after 12 h free forecast
Cloud top height NWC SAF
Data Assimilation- Low Stratus
satellite obs
15. Nov 2011, 6:00 UTC
Annika Schomburg, DWD
Notes: Free- without further assimilation after t=0, convential without cloud product, + Minimal diffusion coefficient

## Slide 6
From a modelers perspective:
 Cloud-free days
 Optical thickness of clouds
 Aerosol interactions
PV Modeling Errors
http://www.photocase.de/stock-fotos/33254-stock-photo-himmel-sonne-wolken-kalt-strahlung.jpg

## Slide 7
Insufficient radiation for clear sky conditions
Too much radiation for cloudy conditions
PV Modeling Errors
Notes:   Effect of the Tegen aerosol climatology (already implemented by Jürgen Helmert, DWD FE14)?

## Slide 8
Insufficient radiation for clear sky conditions
PV Modeling Errors
Notes:   Effect of the Tegen aerosol climatology (already implemented by Jürgen Helmert, DWD FE14)

## Slide 9
Cloud-free Days
  Aerosols from Tanré et al. 1984 are operational
    Constant in time
    On cloud free days the shortwave radiation forecast of the COSMO-DE model is underpredicted

## Slide 10: Aerosols based on Tanré, 1984 (operationel)
Source: Helmert et al. (2007)
Aerosol climatology from Tegen, 1997
Source:Jürgen Helmert, DWD
Cloud-free Days
optical thickness
extinction coefficient
wave length
Notes: Tanré constant over time, Aerosol optical thickness over Germany average of tau=0.38. Tegen aerosol climatology has a lower average optical thickness of 0.18. Aerosol optical thickness is the degree to which aerosols prevent the transmission of solar radiation by absorption or scattering, so extinction.

## Slide 11
Clear Sky Day- 18.08.2012
Hourly averages of the surface shortwave irradiance
Using the Tegen aerosol climatology shows an improvement due to reduced optical
thickness of the atmosphere
COSMO Tanré (op.)
COSMO Tegen
Pyranometer

## Slide 12
PV Modeling Errors
Too much radiation for cloudy conditions
Notes:   Effect of the Tegen aerosol climatology (already implemented by Jürgen Helmert, DWD FE14)?

## Slide 13
Radiation scheme based on Ritter und Geleyn 1992 only includes cloud ice and cloud water
Rain, snow and graupel are neglected
Clouds optically too thin
Optical properties are being revised and rain, snow and graupel accounted for in te radiation scheme (Uli Blahak, DWD)
PV Modeling Errors

## Slide 14: Other Challenges
External factors important for PV power forecast which are currently not included in the operational model:
Sahara dust events
Solar eclipse

## Slide 15
Source: B. Vogel (KIT),
J. Förstner (DWD)
Aerosol optical thickness
Sahara Dust

## Slide 16
Sahara Dust
COSMO-ART prog. Dust
COSMO-ART Aeros. Clim.
COSMO-ART prog. Dust
COSMO-ART Aeros. Clim.
Notes: 16%

## Slide 17
Solar Eclipse
March 20th 2015, 08:20-11.05h

## Slide 18
  Which parameterization schemes have a significant impact on forecasts of diurnal cycle in wind speed?
  Soil-model: provides temperature and specific humidity at the ground
  Transfer-Scheme: provides surface fluxes of momentum heat and moisture
  Turbulence Scheme: provides vertical turbulent exchange of momentum, heat and humidity
Diurnal cycle needs to be improved for Wind Energy applications
Soil-Model
Transfer-Model
Turbulence-Model
Wind Modeling Errors
Notes: Spatial resolution is limited by computational power
Forecast time step is governed by spatial resolution and numerics
  Hydrostatisch – nicht hydrostatisch!!!!
  IFS x  16km (91 levels, top at 0.01 hPatime step 600s)
  COSMO-DE x  2.8km (50 levels, top at 0.01 hPatime step 25s)
  Global Model x → 16 km, Mesoscale Model x → 1km
  The outer layer: (PBL above surface layer): fluxes are not constant as n the surface layer but decrease monotonically from their surface values

## Slide 19
  Modified turbulence parameters allow for higher nocturnal wind speeds
                Example of sensitivity study
Operational
“turb_mod”
patlen=200, rlammom=0.7, tkh/min=0.1, astab=1
Observations operated by Meteorologisches Observatorium Lindenberg
Parameterization in NWP models
Notes:   Where – in the sense of which parameterization scheme could be improed

## Slide 20: Summary
Data Assimilation:
Assimilate cloud information from various sources at the convective scale in a LETKF system ongoing:
Satellite products, PV power
Model physics: Solar
Revision of optical cloud particle properties
Change aerosol climatology
Quantify effects of sahara dust and solar eclipse
Model physics: Wind
Critical parameters localized
Work on stability functions in turbulence scheme
Experiments with improved setup

## Slide 21
www.nationalgeographic.de
www.geo.de
Thank you!
Questions?