## Slide 1
LUNAR DUST DETECTION WITH LASER OPTICAL IMAGING EXPERIMENT
Keval DabhiA,B, Christian AlthausB, Prof. Dr. Jürgen SchmidtA, Dr. Matthias GrottB, Dr. Ralf SramaC, Dr. Yanwei LiC
A Department of Planetary Sciences, FU Berlin
B Planetary Sensor Systems, DLR, Berlin
C University of Stuttgart
Footprint of Buzz Aldrin in Lunar Regolith
(Source: NASA Public Domain)
Surveyor 6 image showing a glow on the western lunar horizon after sunset, NASA[4]
BACKGROUND:
Fine lunar dust is hazardous to surface operations because it can be electrically mobile, adhesive, abrasive, and optically active
Solar radiation and plasma interactions charge the lunar surface and dust particles, potentially lofting dust into the near-surface environment
However, particle-scale optical signatures of suspended dust remain poorly constrained.
Aim: Test whether pulsed laser backscattering can detect and characterize suspended 10–30 µm lunar-dust analogs under controlled laboratory conditions

## Slide 2
Potential Difference between the dayside and nightside drives the dust lofting
Lunar surface charging and lofted dust cloud representation. Orger et al. (2018) [3]
LUNAR PLASMA ENVIRONMENT

## Slide 3
Charges and forces on a dust particle (A) Particles under electric field E become negatively charged. Forces acting are Fe=QE, the sheath electric force, Fc, particle-particle repulsive force, Fg; gravitational force and Fco; cohesion between contacting particles, (B)
Patched Charge model,
(Wang et al. 2016) [2]
(a) Static Levitation concept, (b) Motion of a dust grain in a Fountain Model Stubbs et al. (2006) [1]
DUST LOFTING MECHANISMS

## Slide 4
Maximum height and velocity achieved by a charged and ballistically ejected dust particle, by Stubbs et al. [1]
)
THEORATICAL RESERACH AND MODELS

## Slide 5: THEORATICAL RESEARCH AND MODELS
Gaussian Beam Profile of laser light at distance from the source
)
Where, = Peak Power of the laser beam, = beam radius at distance , = radial distance from the axis

## Slide 6: THEORATICAL RESEARCH AND MODELS
Recorded backscattering at the detector depends heavily on the nature of the particle (refractive index ) and the distance from the detector ()

## Slide 7
HV Needle + Grounded Grid = Corona Discharge
Spark over at ~ 2 kV  Chaotic ejection
Back corona prevented stable stream
agglomerated discharge of particles
collected in a cup and looked under microscope
EXPERIMENTAL SETUP: APPROACH A

## Slide 8: EXPERIMENTAL SETUP: APPROACH B

## Slide 10
Laser and Optical Parameters of the Experiment | 
Laser beam wavelength, λ | 
Laser Energy, | 
Laser pulse duration, | 
Frequency | 
Beam expansion | 
Focal length, | 
Exposure time | 
Pixel size | 
Efficiency, QE | 
Working Distance | 
Magnification factor, M | 
Region of Interest, (RoI) | 
Scattering Angle, | 
Laser and Optical Parameters of the Experiment | 
Laser beam wavelength, λ | 
Frequency | 
Beam expansion | 
Exposure time | 
Pixel size | 
Efficiency, QE | 
Working Distance | 
Magnification factor, M | 
Region of Interest, (RoI) | 

## Slide 11
DUST FREE FALLING
Dust detection demonstration

## Slide 12
Silica Copper particles at
Raw image
CLAHE contrast + enhancement
Background Subtraction
Otsu Thresholding
Morphological Cleaning
Silica (Ag coated) particles at
DATA ANALYSIS PIPELINE: FROM RAW IMAGES TO PARTICLE DATA

## Slide 13
Dust Detection at
Silica
Copper
Dust Detection at
(c) Silica
(d) Copper
PARTICLE DETECTION

## Slide 14: SINGLE FRAME VS BATCH ANALYSIS
Size Distribution Histogram z=1.42 m
(a) Silica
(b) Copper
Parameters |  |  |  | 
Mean size |  |  |  | 
Mean Circularity |  |  |  | 
Parameters |  |  |  | 
Mean Circularity |  |  |  | 

## Slide 15: SINGLE FRAME VS BATCH ANALYSIS
Parameters |  | 
Mean Dia. |  | 
Agglomeration |  | 
Mean. Eccen. |  | 
Parameters |  | 
Agglomeration |  | 
Mean. Eccen. |  | 

## Slide 16: SINGLE FRAME VS BATCH ANALYSIS
Parameters |  | 
Mean Dia. |  | 
Agglomeration |  | 
Mean. Eccen. |  | 
Parameters |  | 
Agglomeration |  | 
Mean. Eccen. |  | 

## Slide 17: MIE THEORY: QUALITATIVE SUCCESS, QUANTITATIVE GAP
Backscattering Results: Size Trends Confirmed, Absolute Values Differ
Correlations (size dependent scattering confirmed)
Overestimation of sizes  photon counts are overestimated with mie theory predictions
Comparison of theoretical and recorded number of photons back at the detector z = 1.42 m

## Slide 18: SIGNAL-TO-NOISE RATIO
Where,
Signal-to-Noise Ratio (SNR) as a function of particle diameter for silica particles at
Parameter | Silica | Copper
SNR Range |  | 
Mean SNR |  | 
Mean Signal |  | 
Parameter |  | 
SNR Range |  | 
Mean SNR |  | 
Mean Signal |  | 

## Slide 19: BIBLIOGRAPHY
[1] T.J. Stubbs et al. “Dependence of lunar surface charging on solar wind plasma conditions and solar irradiation”. In: Planetary and Space Science 90 (Jan. 2014), pp. 10–27. ISSN:00320633. DOI: 10.1016/j.pss.2013.07.008
[2] X. Wang et al. “Dust charging and transport on airless planetary bodies”. In: Geophysical
Research Letters 43.12 (2016), pp. 6103–6110. ISSN: 19448007. DOI: 10.1002/2016GL069491
[3] - Necmi Cihan Orger et al. “Lunar dust lofting due to surface electric field and charging within Micro-cavities between dust grains above the terminator region”. In: Advances in Space Research 62.4 (Aug. 2018), pp. 896–911. ISSN: 18791948. DOI: 10.1016/j.asr.2018.05.027.
[4] Joshua E. Colwell et al. “Lunar Dust Levitation”. In: Journal of Aerospace Engineering 22.1 (Jan. 2009), pp. 2–9. ISSN: 0893-1321. DOI: 10.1061/(asce)0893-1321(2009)22:1(2).
Scan the QR code for the full thesis document 